School of Chemistry

## DETERMINING THE MOLAR MASS OF A VOLATILE LIQUID USING DUMAS’ METHOD

## Procedure

We will heat a volatile liquid to evaporate it so that its vapour just fills a flask whose volume we can measure; we will also know the temperature and pressure of the vapour and its mass.

- Determine the mass of flask and foil cap

  - This is done before adding the liquid so we can weigh the amount of vapour by the difference between this and a later measurement; it is done before the first trial only.

  - Make a small pin-hole in the foil cap.

  - Use narrow-neck 250 ml Pyrex flasks only; examine flask for cracks.

- Add the volatile liquid

  - About 5 ml is sufficient. It is not crucial to get exactly 5 ml.

- Heat to vaporize liquid

  - We will use a steam bath in the fume cupboard to heat the liquid until it evaporates. We do not heat with a naked flame because our volatile liquids are flammable!

  - Every so often, slightly tilt the flask; it will be easier to notice when the liquid disappears.

- Measure the steam bath temperature and atmospheric pressure

  - Heat up the steam bath from cold gently. The assumption that the steam bath and the vaporized liquid have the same temperature is only reasonable if it is being heated gently (with the temperature not rising rapidly).

  - Measure the temperature of the steam below the flask quickly once the liquid has vaporized.

  - You may measure the atmospheric pressure any time during the laboratory session.

- Condense the vapour in flask

  - Run cold water over flask.

- Determine the mass of flask, foil cap, and condensed vapour

  - There will be less volatile liquid left than there was initially; that is what we expect. You put in more than enough liquid so its vapour would fill the flask and the excess left through the pinhole. The condensed vapour (i.e. the remaining liquid) has the same mass as the vapour which exactly filled the flask.

  - Be sure the foil cap is not wet from condensed water vapour (steam). Dry the neck of the flask, if necessary, using paper towel, keeping the foil cover on.

- Clean out the flask

  - After you are finished, rinse the flask with a little acetone to remove all remnants of the volatile liquid.

- Determine the volume of the flask

  - The flasks are nominally 250 ml, but the 250 ml is not an exact measurement; and furthermore, it refers to the volume of liquid it holds in normal use, so it excludes the volume of the flask's neck.

  - Fill your flask (to overflowing) with tap water, and carefully pour into a 500 ml measuring cylinder to find the total volume it contains.

- Repeat the procedure with a second volatile liquid

  - Firstly, rinse the flask again with a little acetone and place in the drying oven for a few minutes – try to start the calculation while you’re waiting! 

  - When the flask is dry, repeat steps 1 to 7 above with your second liquid.

| Author | Peter Hoare |
| --- | --- |
| Owners | Royal Society of Chemistry / Newcastle University |
| Title | Dumas’ Method – Determining the Molar Mass of a Volatile Liquid |
| Classification | Chemistry Outreach Experiment |
| Keywords | ukoer, sfsoer, outreach, liquid, volatile, chemistry, molar mass |
| Description | Student instruction sheet |
| Creative Commons Licence | http://creativecommons.org/licenses/by-nc-nd/2.0/uk/ |
| Language | English |
| File size | 542 kB |
| File format | Word 2003 doc |